## Slide 1
Fire Safety

## Slide 2
Fuel
Any combustible material – solid, liquid or gas
Oxygen
The air we breathe is about 21% oxygen – fire needs only 16% oxygen
Heat
The energy necessary to increase the temperature of fuel to where sufficient vapors are given off for ignition to occur
Each of these three elements must be present at the same time to have a fire. A fire will burn until one or more of the elements is removed.

## Slide 3
There are 4 classes of fire:
Class A
Ordinary combustibles or fibrous material, such as wood, paper, cloth, rubber, and some plastics.
Class B
Flammable or combustible liquids such as gasoline, kerosene, paint, paint thinners and propane.
Class C
Energized electrical equipment, such as appliances, switches, panel boxes and power tools.
Class D
Certain combustible metals, such as magnesium, titanium, potassium, and sodium.

## Slide 4
Class  Ordinary Combustibles:
To Prevent Fires
Keep storage and working areas free of trash.
Place oily rags in covered containers.

## Slide 5
Class  Flammable liquids or gases:
Don’t refuel gasoline-powered equipment in a confined space, in the presence of an open flame, or while the equipment is hot.
Keep flammable liquids stored in a tightly closed container and away from spark producing sources.
Use flammable liquids only in well ventilated areas.

## Slide 6
Class  Electrical Equipment:
Never install a fuse rated higher than specified for the circuit.
Investigate any appliance or electrical equipment that smells strange. Unusual odors can be the first sign of a potential fire.
Utility lights should always have some type of wire guard over them.

## Slide 7
Class  Flammable metals:
Knowledge of the properties of the metals and using good judgment and common sense will assist you in controlling or avoiding potential fires/reactions.

## Slide 8
Check the location of fire alarms and know how they work.
Learn your building evacuation plan.
Know where your two nearest exits are located. Learn how doors swing and where stairs lead.
Make sure nothing blocks fire pulls, extinguishers and emergency exits.
Learn the sound of your building fire alarm.
Post emergency numbers (including security and first aid) near your telephone.
Make sure you know what to do if the fire alarm sounds. Plan your escape.
Be prepared for a fire emergency

## Slide 9
Do not assume that anyone else has already called the fire department.
Stay calm and be prepared to answer the operator’s questions regarding the emergency.
EVACUATE !
Dial 911
Emergency Number
OR Alternate Emergency Number
When you notice a fire:
Pull the nearest fire alarm “pull station” while exiting the floor.
If there is no pull station:

## Slide 10: When you hear the fire alarm:
Leave at once, taking direction from the emergency warden.
Do not delay yourself by gathering personal items. Your safety always comes first.
Before you open any door, feel the door with the back of your hand. If the door is cold, slowly open it a crack.
If there is no smoke in hallways or stairwells, follow your building’s evacuation plan. Get out quickly using designated fire exits.

## Slide 11
Close doors behind you, however do NOT lock the door. Locking the door hinders the fire department’s search and rescue efforts.
The stairway will be your primary escape route. Never, never use elevators under any circumstances.
Once in the stairway, proceed down to the first floor and out of the building. Never go up.
When you hear the fire alarm (continued):

## Slide 12
Before you open any door, feel the door with the back of your hand. If the door is warm to the touch, DO NOT attempt to open the door.
Stuff the cracks around doors with towels, rags, clothing or tape, and cover vents to keep out smoke.
Stay low to the floor, and if possible, cover your mouth and nose with a damp cloth or dust mask to help you breathe.
If there is a phone in the room where you are trapped, call the fire department to tell them exactly where you are located. Do this even if you see fire apparatus on the street below.
If you are trapped in smoke or heat:

## Slide 13
Wait at a window and signal for help. Do not panic or jump!! WAIT!
If possible, open the window at the top or bottom, but do not break it, you may need to close the window if smoke rushes in.
Be patient. Rescuing all the occupants of a building can take several hours.
If you are trapped (continued):

## Slide 14
After a fire emergency:
Once you are out of the building, STAY OUT! Do not go back inside for any reason.
Report to your warden for roll call at your designated assembly point.
Tell the fire department via your warden if you know of anyone trapped inside the building.
Only re-enter if and when the fire department tells you it is safe to do so.

## Slide 15
In the event of a fire, your personal safety is your most important concern.
Remember – you are not required to fight a fire.

## Slide 16
Call the fire department.
Confirm that the fire is small and is not spreading.
Confirm you have a safe path to an exit not threatened by the fire.
You know what kind of extinguisher is required and the correct extinguisher is immediately at hand.
BEFORE you consider fighting a fire . . .

## Slide 17
The fire is spreading beyond the immediate area in which it started, or if it is already a large fire.
The fire could block your escape route.
You are unsure of the proper operation of the extinguisher.
You doubt that the extinguisher you are holding is designed for the type of fire at hand or is large enough to fight the fire.
NEVER fight a fire if . . .

## Slide 18
This label shows that this extinguisher can be used on ordinary combustibles (A) or flammable liquids (B). The red slash through the last symbol tells you that the extinguisher cannot be used on electrical fires (C).
Multi-Class Ratings
New Style of Labeling
Old Style of Labeling
Be advised that most fire extinguishers will function for less than 40 seconds.
Many extinguishers available today can be used on different types of fires and will be labeled with more than one designator, e.g. A-B, B-C, or A-B-C.

## Slide 19
10 Tips on How and When to Use a Fire Extinguisher
Most fires start small. Except for explosions, fires can usually be brought under control if they are attacked correctly with the right type and size of extinguisher within the first 2 minutes!
A fire extinguisher should be "listed and labeled" by an independent testing laboratory. The higher the rating number on an A or B extinguisher, the more fire it can put out. Be careful, high-rated units are often heavier models. Make sure you can hold and operate the model you are using.
1
2

## Slide 20
The operator must know how to use the extinguisher quickly without taking time to read directions during an emergency. Remember that the extinguishers need care and must be recharged after every use.
3
4
Before attempting to fight a small fire, be sure everyone is out of the area. Ensure someone has called the fire department. If the fire starts to spread or threatens your escape path, get out immediately!

## Slide 21
IF YOU FIGHT A FIRE, REMEMBER THE WORD P A S S
PULL . . . AIM . . . SQUEEZE . . . SWEEP
AIM... low, pointing the extinguisher nozzle (or it's horn or hose) at the base of the fire.
PULL... the pin. Some extinguishers require releasing a lock latch, pressing a puncture lever or other motion.
5
6

## Slide 22
Read and follow the directions on your extinguisher. If you have the slightest doubt about whether or not to fight a fire – DON’T! Get out and close the door behind you.
SQUEEZE... the handle. This releases the extinguishing agent.
7
8
9
SWEEP... from side to side at the base
of the fire until it appears to be out. Watch the fire area in case fire breaks out again, and repeat use of extinguisher if necessary.

## Slide 23
Remember!
Your Safety Comes First
When in doubt,
leave the fire
fighting to the
professionals